{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["技术要求","技术参数"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"技术要求","index":0,"n_rows":7,"n_cols":5,"rows_kept":7,"merged":[[0,0,0,4],[0,8,1,10],[2,10,2,11],[2,12,2,13],[5,0,5,1],[5,2,5,4],[6,0,6,4]],"flags":["formulas_cached_only"]}
["采购项目清单： 检验科线路改造"]
[]
["序号","项目名称","数量或规模","资金预算","资金来源"]
["1、","检验科线路改造","见清单","35515元","自筹"]
["合计"]
["备注"]
["技术要求及配置确认书\n一、项目名称、数量：检验科线路改造 \n二、项目用途说明：检验科新进设备，原有线路不能满足需要，现需要对线路进行改造。                           \n三、配置规格、附件及零配件（包括专用工具）： 清单详见附件。                                                      \n四、详细技术要求、参数及产品资料等：①、税务登记证、营业执照、组织机构代码或三证合一的营业执照；②、法人签字并加盖公章的委托书；③、投标人的身份证及复印件；④、失信被执行人、重大税收违法案件当事人名单、政府采购严重违法失信行为记录名单查询记录（“信用中国”及“中国政府采购网”查询记录）；⑤、近三年内参加招投标活动在经营活动中没有重大违法违纪记录的书面声明。 ⑥、提供近期二份及以上类似业绩合同。开标时，投标企业需提供上述证件的原件或复印件加公章由评委审验。\n                                                         \n五、售后服务条件及交货日期（或工期）：质量承诺（包括质保期及质保金）   \n                                                             \n                                                        \n五、推荐供应商清单\n    一、除公开招标、单一来源外的其他院内采购方式，可推荐三家以上供应商，并且要具有可比性。\n    二、填写内容包括供应商名称、联系人、联系方式，产地、品牌或资质。\n推荐供应商1                                                \n                                                         \n推荐供应商2                                                \n                                                         \n推荐供应商3                                                \n                                                         \n推荐供应商4                                                \n                                                         \n推荐供应商5                                             "]

{"sheet":"技术参数","index":1,"n_rows":7,"n_cols":6,"rows_kept":7,"merged":[[0,0,1,5]],"flags":["formulas_cached_only"]}
["检验科线路改造清单"]
[]
["序号","名称","规格型号","单位","数量","备注"]
[1,"低压电缆","ZR-YJV-4x35+1x16","米",105]
[2,"配电箱","60x80","个",1]
[3,"配电箱配线及附件",null,"项",1]
[4,"安装费及辅材",null,"项",1]